## Top 50 VN Part Numbers
STT | Part Number | Brand | Category | Range/Series | Product Title (EN) | Medium | Port Size | Docs | Accessories | Vietnam Application / Demand Note | Source URL
1 | T84T-3GA-B1N | IMI Norgren | Functional Valves | T84T | Excelon Plus 3/2 modular system shut-off valve, G3/8 | Compressed air | G3/8 | 3 | 29 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/t84t-3ga-b1n
2 | T82T-2GA-B1N | IMI Norgren | Functional Valves | T82T | Excelon Plus 3/2 modular system shut-off valve, G1/4 | Compressed air | G1/4 | 3 | 20 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/t82t-2ga-b1n
3 | 34D-P016G-DD1-AA | IMI Norgren | Electronic Pressure Switches & Sensors | DD1 | 34D Pneumatic/Hydraulic/Allfluid pressure sensor, G1/4, 0-16 bar, IO-Link configurable | Gases ¦ Liquids | G1/4 | 5 | 16 | Smart factory, giam sat ap suat; OEM may & he thuy luc/khi nen | https://www.norgren.com/en/products/34d-p016g-dd1-aa
4 | VP2310BDLL1MB200 | IMI Norgren | Proportional Valves | VP23 | VP23 series proportional pressure control valve, 8mm, 0-10 bar, IO-Link | Compressed air ¦ Gases |  | 3 | 23 | Dieu khien ap/luu luong chinh xac; bán dan, in/coating, test rig | https://www.norgren.com/en/products/vp2310bdll1mb200
5 | 34D-V101G-DA1-AA | IMI Norgren | Electronic Pressure Switches & Sensors | DA1 | 34D Pneumatic/Hydraulic/Allfluid pressure sensor, G1/4, -1-1 bar, IO-Link configurable | Gases ¦ Liquids | G1/4 | 4 | 16 | Smart factory, giam sat ap suat; OEM may & he thuy luc/khi nen | https://www.norgren.com/en/products/34d-v101g-da1-aa
6 | T73T-4GA-P1N | IMI Norgren | Functional Valves | T73T | Excelon 3/2 modular system shut-off valve, G1/2 | Compressed air | G1/2 | 3 | 17 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/t73t-4ga-p1n
7 | T72T-2GA-P1N | IMI Norgren | Functional Valves | T72T | Excelon 3/2 modular system shut-off valve, G1/4 | Compressed air | G1/4 | 2 | 17 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/t72t-2ga-p1n
8 | T74T-4GA-P1N | IMI Norgren | Functional Valves | T74T | Excelon 3/2 modular system shut-off valve, G1/2 | Compressed air | G1/2 | 3 | 15 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/t74t-4ga-p1n
9 | HT84T-3GA-B1N | IMI Norgren | Functional Valves | HT84T | Excelon Plus 3/2 shut-off valve for extreme temperature applications, G3/8 | Compressed air | G3/8 | 2 | 16 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/ht84t-3ga-b1n
10 | VP6010LJLL1MB200 | IMI Norgren | Proportional Valves | VP60 | VP60 series proportional flow and directional control valve, G1/4, IO-Link | Compressed air | G1/4 | 3 | 17 | Dieu khien ap/luu luong chinh xac; bán dan, in/coating, test rig | https://www.norgren.com/en/products/vp6010ljll1mb200
11 | 2492806305202400 | IMI Herion | Safety Valves | XSz solenoid | Solenoid actuated fail-safe safety valve, G1/4, NC, 3/2, solenoid pilot / spring return | Compressed air | G1/4 | 3 | 13 | An toan may, lockout/exhaust; dau khi (VSP/PTSC), EPC, day chuyen tu dong | https://www.norgren.com/en/products/2492806305202400
12 | 54D-P016G-DD0-AA | IMI Norgren | Electronic Pressure Switches & Sensors | DD0 | 54D Electronic pneumatic pressure sensor, G1/8, 0-16 bar | Compressed air | G1/8 | 4 | 9 | Smart factory, giam sat ap suat; OEM may & he thuy luc/khi nen | https://www.norgren.com/en/products/54d-p016g-dd0-aa
13 | VP5006BJ511H00 | IMI Norgren | Proportional Valves | VP50 | VP50 series proportional pressure control valve, G1/4, 0-6 bar, IO-Link | Compressed air | G1/4 | 3 | 14 | Dieu khien ap/luu luong chinh xac; bán dan, in/coating, test rig | https://www.norgren.com/en/products/vp5006bj511h00
14 | SCSQ101D01D02400 | IMI Herion | Safety Valves | SCSQ | Self-monitoring safety valve, G1/2, NC, 3/2, solenoid pilot / spring return | Compressed air | G1/2 | 3 | 11 | An toan may, lockout/exhaust; dau khi (VSP/PTSC), EPC, day chuyen tu dong | https://www.norgren.com/en/products/scsq101d01d02400
15 | 0880300000000000 | IMI Herion | Electro-Mechanical Pressure Switches | 18D Pneumatic | 18D Electro-mechanical pneumatic pressure switch, G1/4, 0.5-8 bar | Gases ¦ Liquids | G1/4 | 3 | 11 | Cong tac ap co dien gia tot; may cong nghiep, dau khi, HVAC | https://www.norgren.com/en/products/0880300000000000
16 | NE/13338 | IMI Norgren | Safety Valves | NE/13808, NE/13338 | Solenoid actuated glandless spool valve, G1/8, G1/2, 5/2, solenoid pilot / spring return | Compressed air | G1/8 ¦ G1/2 | 1 | 15 | An toan may, lockout/exhaust; dau khi (VSP/PTSC), EPC, day chuyen tu dong | https://www.norgren.com/en/products/ne-13338
17 | 102GD0428 | IMI Norgren | Functional Valves | 102GD | Pneumatic sensor fitting, G1/4 | Compressed air |  | 2 | 11 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/102gd0428
18 | SCVA101DE1A02400 | IMI Herion | Safety Valves | SCVA | Self-monitoring safety valve, G1/2, NC, 3/2, solenoid pilot / spring return | Compressed air | G1/2 | 3 | 10 | An toan may, lockout/exhaust; dau khi (VSP/PTSC), EPC, day chuyen tu dong | https://www.norgren.com/en/products/scva101de1a02400
19 | T56C2800 | IMI Norgren | Functional Valves | T56 | In-line non-return valve, G1/4 | Compressed air |  | 2 | 11 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/t56c2800
20 | 0880380000000000 | IMI Herion | Electro-Mechanical Pressure Switches | 18D ATEX Pneumatic | 18D Electro-mechanical pneumatic pressure switch, G1/4, 0.5-8 bar, ATEX certified | Gases ¦ Liquids | G1/4 | 3 | 10 | Cong tac ap co dien gia tot; may cong nghiep, dau khi, HVAC | https://www.norgren.com/en/products/0880380000000000
21 | 102GB1818 | IMI Norgren | Functional Valves | 102GB | Pressure reduction valve, G1/8 | Compressed air |  | 2 | 11 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/102gb1818
22 | 0882300000000000 | IMI Herion | Electro-Mechanical Pressure Switches | 18D Hydraulic | 18D Electro-mechanical hydraulic pressure switch, G1/4, 25-250 bar | Gases ¦ Liquids | G1/4 | 2 | 11 | Cong tac ap co dien gia tot; may cong nghiep, dau khi, HVAC | https://www.norgren.com/en/products/0882300000000000
23 | 601112238 | IMI Norgren | Functional Valves | 60 | Mini ball valve, reduced bore, male/female, G3/8 | Compressed air ¦ Gases ¦ Liquids |  | 1 | 11 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/601112238
24 | 0860820000000000 | IMI Norgren | Electronic Pressure Switches & Sensors | 51D Pneumatic | 51D Electronic pneumatic pressure switch, G1/8, -1-1 bar | Compressed air | G1/8 | 2 | 9 | Smart factory, giam sat ap suat; OEM may & he thuy luc/khi nen | https://www.norgren.com/en/products/0860820000000000
25 | VP5110BJ111H00 | IMI Norgren | Proportional Valves | VP51 | VP51 series proportional pressure control valve, G1/4, 0-10 bar, 0-10 V | Compressed air | G1/4 | 3 | 9 | Dieu khien ap/luu luong chinh xac; bán dan, in/coating, test rig | https://www.norgren.com/en/products/vp5110bj111h00
26 | 60S-P400G-A42-AA | IMI Norgren | Electronic Pressure Switches & Sensors | A42 | 60S Pneumatic/Hydraulic/Allfluid pressure sensor, 0-400 bar | Gases ¦ Liquids | G1/4 | 1 | 11 | Smart factory, giam sat ap suat; OEM may & he thuy luc/khi nen | https://www.norgren.com/en/products/60s-p400g-a42-aa
27 | M/58102/20 | IMI Norgren | Vacuum Pumps | M/58102 | Multi stage vacuum pump, 160Nl/min | Compressed air | G3/8 | 1 | 10 | Bom chan khong pick-and-place; dien tu, dong goi, robot | https://www.norgren.com/en/products/m-58102-20
28 | M/58112/11 | IMI Norgren | Vacuum Pumps | M/58112 | Single stage vacuum pump, 55Nl/min | Compressed air | G1/4 | 1 | 10 | Bom chan khong pick-and-place; dien tu, dong goi, robot | https://www.norgren.com/en/products/m-58112-11
29 | M/58409/01 | IMI Norgren | Vacuum Cups & Bellows | M/58400 | Single bellows vacuum cup, 50mm O/D, G1/8, nitrile rubber | Compressed air |  | 1 | 10 | Giac hut gap-dat; dien tu, nhua, thuc pham, kho hang | https://www.norgren.com/en/products/m-58409-01
30 | M/58311/01 | IMI Norgren | Vacuum Cups & Bellows | M/58300 | Flat vacuum cup, 120mm O/D, G1/2, nitrile rubber | Compressed air |  | 1 | 10 | Giac hut gap-dat; dien tu, nhua, thuc pham, kho hang | https://www.norgren.com/en/products/m-58311-01
31 | T1000C2800 | IMI Norgren | Functional Valves | T1000 | Block form flow regulator, uni-directional, G1/4 | Compressed air |  | 2 | 7 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/t1000c2800
32 | T55C2800 | IMI Norgren | Functional Valves | T55 | T55 In-line non-return valve, G1/4 | Compressed air |  | 2 | 7 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/t55c2800
33 | M/837 | IMI Norgren | Functional Valves | M/800 | Heavy duty flow control valve, uni-directional, G1/4 | Compressed air |  | 2 | 7 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/m-837
34 | T1100C2800 | IMI Norgren | Functional Valves | T1100 | Block form flow regulator, bi-directional, G1/4 | Compressed air |  | 2 | 7 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/t1100c2800
35 | M/7328 | IMI Norgren | Functional Valves | M/7300 | Manually actuated sleeve valve, G1/4 | Compressed air |  | 2 | 7 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/m-7328
36 | S/521 | IMI Norgren | Functional Valves | S/520 | Heavy duty non-return valve, G1/4 | Compressed air |  | 2 | 7 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/s-521
37 | 4420453000000000 | IMI Herion | Safety Valves | XSz air pilot | Pneumatic actuated fail-safe safety valve, G1/2, 5/2, air pilot / spring return | Compressed air | G1/2 | 2 | 9 | An toan may, lockout/exhaust; dau khi (VSP/PTSC), EPC, day chuyen tu dong | https://www.norgren.com/en/products/4420453000000000
38 | M/80/IOL/15T/CC | IMI Norgren | Flow Sensors | M/80 | M/80 Inline flow sensor, DN 15 connection | Compressed air ¦ Gases |  | 4 | 12 | Giam sat luu luong khi nen; tiet kiem nang luong nha may | https://www.norgren.com/en/products/m-80-iol-15t-cc
39 | Q84G-4GN-NNE | IMI Norgren | Electronic Pressure Switches & Sensors | Q84G | Excelon Plus Integrated Electronic Pressure Sensor, G1/2 |  | G1/2 | 3 | 4 | Smart factory, giam sat ap suat; OEM may & he thuy luc/khi nen | https://www.norgren.com/en/products/q84g-4gn-nne
40 | VP1208BG101Q00 | IMI Norgren | Proportional Valves | VP12 | VP12 series miniature proportional pressure control valve, G1/8, 0-8 bar, 0-10 V | Compressed air | G1/8 | 2 | 7 | Dieu khien ap/luu luong chinh xac; bán dan, in/coating, test rig | https://www.norgren.com/en/products/vp1208bg101q00
41 | 0880160000000000 | IMI Herion | Vacuum Switches | 18D Pneumatic Vacuum | 18D Electro-mechanical pneumatic vacuum switch, G1/4, -1-0 bar | Gases ¦ Liquids | G1/4 | 3 | 3 | Cam bien chan khong; giam sat he hut | https://www.norgren.com/en/products/0880160000000000
42 | 1841615000000000 | IMI Herion | Electro-Mechanical Pressure Switches | 20D ATEX Allfluid | 20D Electro-mechanical allfluid pressure switch, G1/2, 0.5-10 bar, ATEX certified | Gases ¦ Liquids | G1/2 | 3 | 1 | Cong tac ap co dien gia tot; may cong nghiep, dau khi, HVAC | https://www.norgren.com/en/products/1841615000000000
43 | 1801605000000000 | IMI Norgren | Electronic Pressure Switches & Sensors | 20D Pneumatic | 20D Electro-mechanical pneumatic pressure switch, G1/4, 0.5-10 bar | Gases ¦ Liquids | G1/4 | 1 | 2 | Smart factory, giam sat ap suat; OEM may & he thuy luc/khi nen | https://www.norgren.com/en/products/1801605000000000
44 | 1811615000000000 | IMI Herion | Electro-Mechanical Pressure Switches | 20D Allfluid | 20D Electro-mechanical allfluid pressure switch, G1/2, 0.5-10 bar | Gases ¦ Liquids | G1/2 | 1 | 2 | Cong tac ap co dien gia tot; may cong nghiep, dau khi, HVAC | https://www.norgren.com/en/products/1811615000000000
45 | NC-124MS-00000G5 | IMI Norgren | Cables & Connectors | 124MS | Industrial ethernet cable, 5 m, 4 pin, open end, M12 x 1, 250 V AC/DC |  |  | 3 | 0 | Cap/connector M12 IO-Link; ket noi cam bien & manifold | https://www.norgren.com/en/products/nc-124ms-00000g5
46 | NC-125FS-00000-5 | IMI Norgren | Cables & Connectors | 125FS | Connector cable, 5 m, 5 pin, open end, M12 x 1, 60 V AC/DC |  |  | 3 | 0 | Cap/connector M12 IO-Link; ket noi cam bien & manifold | https://www.norgren.com/en/products/nc-125fs-00000-5
47 | 8582002CJ28111110000 | IMI FAS | Mass Flow Controllers | MFC | CHIPREG mass flow controller, 0-0.2 l/min | Compressed air ¦ Gases | G1/8 | 3 | 0 | Kiem soat luu luong khoi chinh xac; phong lab, ban dan | https://www.norgren.com/en/products/8582002cj28111110000
48 | NC-MP-4A4B-12DLA | IMI Norgren | IO-Link Masters & I/O Modules | 4A4B | IO-Link master, PROFINET interface, x1 5 pin M12 plug, x11 5 pin M12 sockets |  |  | 4 | 0 | Ket noi smart factory; he dieu khien hien dai | https://www.norgren.com/en/products/nc-mp-4a4b-12dla
49 | T65C1800 | IMI Norgren | Functional Valves | T65 | Shuttle valve OR logic function, G1/8 | Compressed air |  | 2 | 7 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/t65c1800
50 | T60C2890 | IMI Norgren | Functional Valves | T60 | Air fuse in-line excess flow shut-off valve, G1/4 | Compressed air |  | 2 | 7 | Tu dong hoa khi nen pho thong; lap rap dien tu (Samsung/LG/Foxconn), F&B, may dong goi | https://www.norgren.com/en/products/t60c2890